[image: image1.wmf]
January 9, 2013 (emailed to all proposers on this date)
ADDENDUM # 1
RFP #021304
Projectors for Decision Theater
Please note the following answers to questions that were asked prior to the deadline for inquiries date of January 16, 2013. 

Question

Q1: Will the University accept a throw distance of 11.7’ to get a 103” wide x 77” screen?

A1: A 11.7’ throw distance can be used, but there are three issues to consider:

a) Such projectors will need to be mounted above existing projectors to prevent the light path from hitting legs of the existing stands.

b) Projector/lenses will need to be less than 24” in depth along the alignment of the lens to fit within the 13’ 10” room depth at the screen centerline.

c) At projector 2, the new projector will have to be mounted offset from the center, away from the pillar near the screen, to have an unobstructed light path.

Q2: When referring to “RGBHV” in your proposal, does it mean VGA cabling or BNC connection?
A2: The existing cabling has BNC RGBHV connectors from the video matrix switch to the projectors. If DE-15 VGA connectors are used in intermediate equipment, adapters will need to be provided as part of the installation to complete the connections.
If you have any questions regarding this notice, please contact me at 480.965.8860 or Stacie.malekooti@asu.edu.

Thank you,

Stacie Malekooti, Sr. Buyer

Arizona State University

Purchasing & Business Services

PAGE  
1

