[image: image1.wmf]
April 8, 2013 (emailed to all proposers on this date)
ADDENDUM # 3
RFP #021307
SUN DEVIL FITNESS COMPLEX

2011-50012
Please note the following answers to questions that were asked prior to the deadline for inquiries date of April 9, 2013. 
1. 27 41 00 Bid Document Part 1.01 Related Documents

a. Can we get these documents?

i. 11 52 13 -  Projection Screens
ii. 27 05 28.48 - Multimedia Connection Wall box

iii. 27 05 28.50 - Multimedia Flush Poke-Thru Device

iv. 27 41 13 - Multimedia Floor box 

v. 27 10 00

vi. 26 00 00 - Poke Thru Devices

vii. 26 05 33 - AV Back Boxes

viii. 05 28 48 - Flat Panel Displays
Yes, Sections 271000, 260000, 260533, 052848 are not referenced. The remainder were included in the bid documents.
b. In Section 3.05 Schedules, each area references "Equipment List: On the following pages is the equipment list for this space." I found no such list in the documentation. If there are equipment lists for each area, I would like to have them.
Equipment list is included in the Part 2 section of the specification.

c. No cabling requirement is specified other than CAT6. What are the requirements for coax, RGB, DVI, HDMI, line level and speaker level audio etc.?
Cabling requirements are based around performance in sections 1.07 and section 3.

d. Pole Mount Displays
i. These displays only have the TPMUB tilt pole mount specified. Who is providing the poles?
AV Contractor will be providing the poles.

ii. The clamp accessory also was not included and is required for the pole mount to work. This will need to be added to the proposal.

Mounting hardware and accessories are to be provided as needed for a complete and fully functional system.

e. AMX transmitter and receiver modules 

i. These units don't include mounting hardware in the equipment list, and will need to be added to the proposal.
Mounting hardware and accessories are to be provided as needed for a complete and fully functional system.
2. Social Lounge/ Gaming room- 170L1

a. Panasonic TH-50PF30UK( FPD-01~3)

i. These displays are EOL (end of life).
Panasonic has added a new feature set to the same displays and has given it a new part number, Price remains unchanged. Provide monitor with updated part number TH-50PB1U.
ii. DVI and PC inputs share the same audio jack
Provide connection from HD-15 connection, Audio from DX-Link receiver will be selectable on the overhead speakers.

[image: image2.png]@ CONNECTION TERMINAL

3D IR TRANSMITTER | SERIAL

Reaupiod b v

o o (o] =1
AUDIOA ~ PR/CR/R Pa/Ca/B]
COMPONENT/RGEIN © | AVIN-© | DVEDIN ©

EXTSP(50)





iii.  No audio from the display is backfed to DSP-01. Audio from the wall plate will only be heard through the display speakers. Is this by design?
This is by design

iv. 27 41 00-23 states: "Provide RF cable connection", but none is shown on ta5.00. Is it required? If so, who is providing CATV distribution?
Provide RF jumper cable from wall plate to display. CATV distribution system is provided by the telecommunications contractor.

v. These displays are at end of the product life cycle (EOL). Since this display doesn’t appear to fit the design requirement, what display do you want to replace it with?


Panasonic has added a new feature set to the same displays and has given it a new part number, Price remains unchanged. Provide monitor with updated part number TH-50PB1U.
b. Nexia SP (DSP-01)

i. Only 4 mono balanced inputs. Do you intend to mono sum the outputs of the DXLINK HDMI receivers (DXR-01~03)?
Provide complete and functioning system, Summed audio will not affect the audio quality of the non-stereo sound field.
c. AMX AVB-RX-DXLINK-HDMI

i. Will need to have stereo audio output summed to the Nexia SP (DSP-01), and, according to the manual,  it may not pass audio depending on the incoming format.
If source does not contain stereo audio then audio will not pass.

ii. (From the manual) Stereo Audio Out Connector -
The Stereo Audio Out connector is a 3.5 mm stereo jack. This connector has an analog audio signal available for output whether the embedded audio over the DXLink cable originated as 2 channel digital or analog stereo. If encoded digital audio or multi-channel audio paths are embedded on the HDMI path, then the local analog out will not be available.


Correct, if the source does not contain stereo audio will not pass.
d. Wall plates

i. What material and color is preferred for the trim plates? If metal, then all jacks need to be isolated from the plate.
Submit proposed plates for Architect review. If a metal plate is used then proper grounding and isolation practices need to be followed to provide a complete and fully functional system.

ii. Where is WP-1 located in the room?

1. Are these behind the display with cable to the floor box for input jacks?
Wall plates are located below the displays, see drawing sheet tSK02/ta1.00.
2. No cabling requirements are specified for these.
Cabling is performance based and cable types are specified on drawing sheets.

e. Control

i. What control device will be used for this area?
Control is to be achieved from AMX iPad licenses and NXV-300 web interface.
3. Social Lounge- 152

a. Panasonic TH-55LFV50U  (FPD-01~04)

i. Audio from floor box jacks routed to displays. Displays have no speakers, and audio is not routed back to the Nexia SP (DSP-01).
Provide required stereo feed from displays to Nexia for audio reproduction into the speakers.
ii. Only DVI-I inputs get passed through to the DVI-D input of the next display. Panasonic case # 30402696
There is no DVI-I input on this display. The arrayed monitors are to take any source and display them across the four units as a single image. Panasonic was not able to confirm the limitation noted above.
b. Control

i. What control device will be used for this area?
To be controlled via AMX iPad licensed devices and NXV-300.
ii. The touch panel for the Social Lounge/ Gaming room 170L1 was deleted, and it appears to be the one for this area as well.
Correct, there are no local touchpanels for the social areas.
iii. There is no control device on the ta5.11 control drawing
All devices are to be controlled via the control processor in the telecom room by way of the DXlink receivers or IP control.
 

4. Multi-Purpose Meeting Room(s)- 169 & 171

a. Audio from Nexia PM (DSP-01) is being routed to each room's display and ceiling speakers. Is the intention to have either one or the other pass the audio or both at the same time?
It will be a selection for either ceiling or display speakers, depending on the use of the room.
b. Lutron Grafik Eye controller is in the ta5.21 av control flow diagram. Is it being installed? We were told there would be no other sub-system integration.
Local connection to the lighting controller for this space is required to recall lighting presets. This is the only location where integration with sub systems is required.
c. Panasonic TH-50PF30UK( FPD-01~2)

i. These displays are at end of the product life cycle (EOL). What display do you want to replace it with?
Panasonic has added a new feature set to the same displays and has given it a new part number, Price remains unchanged. Provide monitor with updated part number TH-50PB1U.

d. How should alternate displays be quoted?
Alternative price shall be provided for displays, but not included in the total price.
e. Where will the AXB-TX-MULTI-DXLINK (DXT-03~06) for the (4) floor boxes be located?  The dimensions are: 1" x 8 3/4" x 5 1/5".
Transmitters to be located in the equipment rack as detailed on ta5.20 & ta5.22
f. NXD-7001 (TP-01~02)

i. The NXD-7001 in-wall touchpanel requires a PoE connection or injector  for power.
Touchpanel is a NXD-700i, Network connection to OFE system will provide POE.
1. Is a PoE switch being provided, or do we need to provide a PoE injector?

ii. It should also get a back box that is not in the equipment list.
Back box is not required for touchpanel installation.
5. Fitness-Cardio/ Strength Area- 170

a. Panasonic TH-50PF30UK( FPD-01~2)

i. These displays are at end of the product life cycle (EOL). What display do you want to replace it with?
Panasonic has added a new feature set to the same displays and has given it a new part number, Price remains unchanged. Provide monitor with updated part number TH-50PB1U.

b. Ceiling speakers are designed to be installed in sheet rock or with a tile bridge.

i. Sheet notes on page ta2.01 appear to indicate suspending the speaker from the secondary support tab. Is this the case?

Speakers to be mounted from suspended cables to mounting points. Secondary support tab is to still be used as a non-tensioned safety point
c. Drawing ta5.30 references providing a connection to RF distribution system.

i. What RF distribution system?
Building will have a RF distribution system.
ii. Who is providing RF distribution?
Telecommunications contractor is providing the RF distribution system.
6. Gym

a. QSC AD-C1200 speakers are in the equipment list without a back box or grill. These will need to be added to the quotes for proper installation.

Provide back boxes and grills as needed for a complete and fully functional system. Refer to specification section 27 41 00-1.08-I for requirements to submit proposed equipment mounting details for Architect/Consultant review. 
7. Gym System

a. Drawing ta5.40 sheet notes:

i. Provide additional paging interface cards to existing system as required for connectivity drawn on this sheet.
Correct
ii. What is the existing system?
Existing Dynacord system is located in the original portion of the building.
iii. What slots are available to use?
Expansion slots are available in existing frame, site is available to see existing conditions and construction progress.
b. Biamp Audia Flex

i. There are more inputs and outputs shown on drawing ta5.40 than the unit is capable of. Do you want to spec a different unit, or add on additional units?

Provide additional card frames as needed to provide the necessary throughput for a complete and fully functional system.
If you have any questions regarding this notice, please contact me at 480.965.8860 or Stacie.malekooti@asu.edu.

Thank you,

Stacie Malekooti, Sr. Buyer

Arizona State University

Purchasing & Business Services

PAGE  
2

